## VuSitu_2019-10-12_15-16-08_Devi
Location Properties
Location Name = Device Location
Report Properties
Start Time = 2019-10-12 15:16:08
Time Offset = -04:00:00
Duration = 00:03:24
Readings = 103
Instrument Properties
Device Model = Aqua TROLL 600 Vented
Device SN = 676154
Instrument Properties
Device Model = In-Situ Bluetooth Device
Device SN = 674191
Date Time | Actual Conductivity (µS/cm) (673205) | Specific Conductivity (µS/cm) (673205) | Salinity (ppt) (673205) | Total Dissolved Solids (ppt) (673205) | Resistivity (Ω⋅cm) (673205) | Density (g/cm³) (673205) | Chlorophyll-a Fluorescence (RFU) (670514) | Chlorophyll-a Concentration (µg/L) (670514) | RDO Concentration (mg/L) (672710) | RDO Saturation (%Sat) (672710) | Oxygen Partial Pressure (Torr) (672710) | Temperature (°C) (676154) | Barometric Pressure (mm Hg) (676154) | Pressure (psi) (669389) | Depth (ft) (669389) | External Voltage (V) (676154) | Battery Capacity (%) (676154) | Barometric Pressure (mbar) (674191) | Temperature (°C) (674191) | Latitude (°) | Longitude (°) | Marked
2019-10-12 15:16 | 56459.82 | 52885.81 | 35.5125 | 34.3758 | 17.7136 | 1.0226 | 0.0025476 | 0.025476 | 6.3431 | 99.3129 | 152.4959 | 28.5381 | 762.3611 | 1.0144 | 2.9638 | 0.12679 | 90 | 1017.341 | 30.0722 | 26.5503 | -82.6974
2019-10-12 15:16 | 56613.43 | 53030.18 | 35.6216 | 34.4696 | 17.6644 | 1.0227 | 0.0026279 | 0.026279 | 6.3388 | 99.3055 | 152.4855 | 28.5375 | 762.3649 | 1.0381 | 3.0203 | 0.12671 | 90 | 1017.348 | 30.0708 | 26.5503 | -82.6974
2019-10-12 15:16 | 56696.14 | 53097.63 | 35.6728 | 34.5135 | 17.638 | 1.0227 | 0.002506 | 0.02506 | 6.3319 | 99.2391 | 152.3862 | 28.5482 | 762.3063 | 1.0499 | 3.0345 | 0.13453 | 90 | 1017.387 | 30.0888 | 26.5503 | -82.6975
2019-10-12 15:16 | 56715.11 | 53113.5 | 35.6785 | 34.5183 | 17.6338 | 1.0227 | 0.0004206 | 0.012691 | 6.3163 | 99.0183 | 152.0262 | 28.5502 | 762.1981 | 0.75046 | 2.354 | 0.12724 | 90 | 1017.255 | 30.0894 | 26.5503 | -82.6975
2019-10-12 15:16 | 56718.41 | 53112.42 | 35.6832 | 34.5223 | 17.6312 | 1.0227 | 0.00075503 | 0.0087301 | 6.3035 | 98.8351 | 151.7277 | 28.5546 | 762.1074 | 0.92732 | 2.7603 | 0.12648 | 90 | 1017.23 | 30.09 | 26.5503 | -82.6975
2019-10-12 15:16 | 56718.8 | 53112.23 | 35.6836 | 34.5226 | 17.6309 | 1.0227 | 0.00073878 | 0.0078626 | 6.3015 | 98.8052 | 151.679 | 28.5552 | 762.0927 | 0.94159 | 2.7933 | 0.12613 | 90 | 1017.223 | 30.09 | 26.5503 | -82.6975
2019-10-12 15:16 | 56711.45 | 53110.08 | 35.6822 | 34.5215 | 17.6331 | 1.0227 | 0.001842 | 0.018491 | 6.2984 | 98.7605 | 151.5935 | 28.5502 | 762.0788 | 1.075 | 3.0985 | 0.126 | 90 | 1017.257 | 30.0994 | 26.5503 | -82.6975
2019-10-12 15:16 | 56669.43 | 53072.12 | 35.6534 | 34.4969 | 17.6462 | 1.0227 | 0.0014978 | 0.014978 | 6.2963 | 98.7106 | 151.5148 | 28.5488 | 762.0433 | 1.905 | 5.0223 | 0.126 | 90 | 1017.204 | 30.0999 | 26.5503 | -82.6975
2019-10-12 15:16 | 56715.53 | 53110.89 | 35.6829 | 34.5221 | 17.6319 | 1.0227 | 0.00078493 | 0.0078493 | 6.2838 | 98.5294 | 151.2428 | 28.5534 | 762.1074 | 1.6173 | 4.3579 | 0.126 | 90 | 1017.289 | 30.1 | 26.5503 | -82.6975
2019-10-12 15:16 | 56716.61 | 53114.62 | 35.6931 | 34.5308 | 17.6277 | 1.0227 | 0.0018096 | 0.027755 | 6.2887 | 98.613 | 151.3725 | 28.5505 | 762.1718 | 3.0057 | 7.5543 | 0.13383 | 90 | 1017.192 | 30.1 | 26.5503 | -82.6975
2019-10-12 15:16 | 56707 | 53107.52 | 35.6813 | 34.5207 | 17.634 | 1.0227 | 0.0013815 | 0.015145 | 6.2825 | 98.4971 | 151.2065 | 28.5521 | 762.2434 | 4.0255 | 9.9125 | 0.12708 | 90 | 1017.252 | 30.1 | 26.5503 | -82.6975
2019-10-12 15:16 | 56705.33 | 53106.38 | 35.6799 | 34.5195 | 17.6348 | 1.0227 | 0.0013736 | 0.014341 | 6.282 | 98.4864 | 151.1917 | 28.5522 | 762.2555 | 4.2286 | 10.3816 | 0.12649 | 90 | 1017.255 | 30.1 | 26.5503 | -82.6975
2019-10-12 15:17 | 56685.5 | 53089.25 | 35.6664 | 34.508 | 17.6412 | 1.0227 | 0.0018211 | 0.018183 | 6.2741 | 98.3429 | 150.9872 | 28.5468 | 762.4001 | 5.4749 | 13.2558 | 0.13451 | 90 | 1017.288 | 30.1 | 26.5503 | -82.6975
2019-10-12 15:17 | 56697.8 | 53112.05 | 35.6835 | 34.5228 | 17.6374 | 1.0227 | 0.0012289 | 0.012289 | 6.2692 | 98.238 | 150.8591 | 28.5347 | 762.4277 | 5.8725 | 17.0023 | 0.12673 | 90 | 1017.225 | 30.0909 | 26.5503 | -82.6975
2019-10-12 15:17 | 56666.66 | 53086.57 | 35.6641 | 34.5063 | 17.6471 | 1.0227 | 0.0013838 | 0.013838 | 6.2612 | 98.0142 | 150.5518 | 28.5308 | 762.5646 | 6.8454 | 16.6817 | 0.13423 | 90 | 1017.275 | 30.0902 | 26.5503 | -82.6975
2019-10-12 15:17 | 56675.82 | 53098.63 | 35.6731 | 34.5183 | 17.6421 | 1.0227 | 0.00075141 | 0.0075141 | 6.2649 | 98.1346 | 150.7268 | 28.5272 | 762.5106 | 7.6886 | 18.4351 | 0.12686 | 90 | 1017.217 | 30.09 | 26.5503 | -82.6976
2019-10-12 15:17 | 56636.55 | 53069.52 | 35.651 | 34.4957 | 17.6562 | 1.0227 | 0.0017374 | 0.017374 | 6.2636 | 98.0901 | 150.6607 | 28.5269 | 762.6484 | 8.3593 | 19.9063 | 0.13397 | 90 | 1017.22 | 30.09 | 26.5503 | -82.6976
2019-10-12 15:17 | 56631.82 | 53066.27 | 35.6485 | 34.4933 | 17.6578 | 1.0227 | 0.0018429 | 0.018429 | 6.2636 | 98.0911 | 150.6619 | 28.5267 | 762.6638 | 8.4818 | 20.1883 | 0.13455 | 90 | 1017.218 | 30.09 | 26.5503 | -82.6976
2019-10-12 15:17 | 56658.88 | 53094.01 | 35.6694 | 34.5111 | 17.6495 | 1.0227 | 0.0030114 | 0.030114 | 6.25 | 97.8627 | 150.3447 | 28.5158 | 762.6355 | 8.5213 | 20.2701 | 0.13507 | 90 | 1017.22 | 30.09 | 26.5503 | -82.6976
2019-10-12 15:17 | 56643.17 | 53084.05 | 35.6618 | 34.5046 | 17.6544 | 1.0227 | 0.0029092 | 0.029092 | 6.2624 | 98.0483 | 150.5275 | 28.5103 | 762.6532 | 9.9182 | 23.4956 | 0.1269 | 90 | 1017.283 | 30.099 | 26.5503 | -82.6976
2019-10-12 15:17 | 56640.84 | 53086.74 | 35.6637 | 34.5064 | 17.6496 | 1.0227 | 0.0027018 | 0.027018 | 6.26 | 98.0025 | 150.5539 | 28.5052 | 762.6741 | 10.3431 | 24.4795 | 0.11073 | 90 | 1017.227 | 30.0911 | 26.5503 | -82.6976
2019-10-12 15:17 | 56629.29 | 53082.08 | 35.6601 | 34.5033 | 17.658 | 1.0227 | 0.0049767 | 0.049767 | 6.252 | 97.8623 | 150.3468 | 28.5021 | 762.7343 | 11.4985 | 27.1475 | 0.13169 | 90 | 1017.24 | 30.0819 | 26.5503 | -82.6976
2019-10-12 15:17 | 56627.76 | 53081.63 | 35.6597 | 34.5031 | 17.6589 | 1.0227 | 0.0052765 | 0.052765 | 6.2508 | 97.8403 | 150.3185 | 28.5016 | 762.7431 | 11.6601 | 27.5207 | 0.13397 | 90 | 1017.239 | 30.0803 | 26.5503 | -82.6976
2019-10-12 15:17 | 56654.26 | 53105.25 | 35.6777 | 34.5184 | 17.651 | 1.0227 | 0.003149 | 0.03149 | 6.2457 | 97.764 | 150.2147 | 28.4992 | 762.8737 | 12.6393 | 29.781 | 0.12657 | 90 | 1017.23 | 30.08 | 26.5503 | -82.6976
2019-10-12 15:17 | 56665.06 | 53115 | 35.685 | 34.5247 | 17.6476 | 1.0227 | 0.0017333 | 0.017333 | 6.2503 | 97.8233 | 150.3319 | 28.4993 | 762.9216 | 13.0968 | 30.8367 | 0.12603 | 90 | 1017.22 | 30.08 | 26.5503 | -82.6976
2019-10-12 15:17 | 56631.39 | 53088.06 | 35.6645 | 34.5072 | 17.658 | 1.0227 | 0.0014272 | 0.014272 | 6.2432 | 97.687 | 150.261 | 28.4945 | 762.8634 | 13.9827 | 32.8774 | 0.13419 | 90 | 1017.238 | 30.08 | 26.5503 | -82.6976
2019-10-12 15:17 | 56634.09 | 53096.7 | 35.671 | 34.5129 | 17.6577 | 1.0227 | 0.0027767 | 0.027767 | 6.2511 | 97.8049 | 150.3142 | 28.488 | 762.8131 | 15.1146 | 35.4903 | 0.1269 | 90 | 1017.186 | 30.0712 | 26.5503 | -82.6976
2019-10-12 15:17 | 56632.28 | 53099.46 | 35.6728 | 34.5147 | 17.661 | 1.0227 | 0.0025462 | 0.025462 | 6.2459 | 97.6973 | 150.1649 | 28.4785 | 763.0067 | 15.5393 | 36.4718 | 0.13403 | 90 | 1017.199 | 30.0703 | 26.5503 | -82.6976
2019-10-12 15:17 | 56644.85 | 53122.86 | 35.6905 | 34.5299 | 17.6543 | 1.0228 | 0.0022876 | 0.022876 | 6.2409 | 97.6123 | 150.0484 | 28.4721 | 763.067 | 15.9191 | 37.3474 | 0.13465 | 90 | 1017.148 | 30.0615 | 26.5503 | -82.6976
2019-10-12 15:17 | 56646.57 | 53126.28 | 35.693 | 34.5321 | 17.6535 | 1.0228 | 0.0022276 | 0.022276 | 6.2399 | 97.5944 | 150.0249 | 28.4709 | 763.0842 | 15.9807 | 37.4893 | 0.1351 | 90 | 1017.142 | 30.0603 | 26.5503 | -82.6976
2019-10-12 15:17 | 56648.5 | 53131.54 | 35.697 | 34.5355 | 17.6527 | 1.0228 | 0.0023322 | 0.023322 | 6.2417 | 97.6127 | 150.0632 | 28.4658 | 763.1545 | 17.3377 | 40.6165 | 0.12645 | 90 | 1017.225 | 30.0504 | 26.5502 | -82.6977
2019-10-12 15:17 | 56646.44 | 53130.6 | 35.6962 | 34.5349 | 17.6534 | 1.0228 | 0.0033543 | 0.033543 | 6.2409 | 97.589 | 150.0414 | 28.4646 | 763.1576 | 17.6171 | 41.2589 | 0.13429 | 90 | 1017.229 | 30.0592 | 26.5502 | -82.6977
2019-10-12 15:17 | 56650.55 | 53136.32 | 35.7005 | 34.5386 | 17.6521 | 1.0228 | 0.0036848 | 0.036848 | 6.2338 | 97.5203 | 149.9306 | 28.4626 | 763.1174 | 18.6488 | 43.6433 | 0.12677 | 90 | 1017.203 | 30.0509 | 26.5502 | -82.6977
2019-10-12 15:17 | 56622.65 | 53113.75 | 35.6834 | 34.5349 | 17.6556 | 1.0228 | 0.0040063 | 0.040063 | 6.2333 | 97.466 | 149.8512 | 28.4588 | 763.1336 | 19.4987 | 45.6043 | 0.13407 | 90 | 1017.227 | 30.0502 | 26.5502 | -82.6977
2019-10-12 15:17 | 56619.77 | 53116.53 | 35.6854 | 34.5272 | 17.661 | 1.0228 | 0.0033169 | 0.033169 | 6.2278 | 97.357 | 149.6984 | 28.457 | 763.2112 | 19.4928 | 45.5895 | 0.12701 | 90 | 1017.169 | 30.033 | 26.5502 | -82.6977
2019-10-12 15:17 | 56618.16 | 53115.91 | 35.6849 | 34.5259 | 17.6619 | 1.0228 | 0.0032328 | 0.032328 | 6.2271 | 97.3402 | 149.6747 | 28.4566 | 763.2229 | 19.5205 | 45.6533 | 0.1264 | 90 | 1017.162 | 30.0306 | 26.5502 | -82.6977
2019-10-12 15:17 | 56626.35 | 53124.38 | 35.6913 | 34.5307 | 17.6597 | 1.0228 | 0.0040268 | 0.040268 | 6.2256 | 97.3161 | 149.6415 | 28.4516 | 763.2546 | 20.5863 | 48.1104 | 0.12593 | 90 | 1017.255 | 30.0203 | 26.5502 | -82.6977
2019-10-12 15:17 | 56621.86 | 53123.16 | 35.6903 | 34.5301 | 17.661 | 1.0228 | 0.0033015 | 0.033015 | 6.2236 | 97.2769 | 149.5879 | 28.4482 | 763.304 | 21.1533 | 49.4202 | 0.126 | 90 | 1017.185 | 30.02 | 26.5502 | -82.6977
2019-10-12 15:17 | 56638.87 | 53142.17 | 35.7047 | 34.5424 | 17.6557 | 1.0228 | 0.0034385 | 0.034385 | 6.2163 | 97.1429 | 149.3782 | 28.445 | 763.2319 | 23.0491 | 53.7948 | 0.13422 | 90 | 1017.19 | 30.02 | 26.5502 | -82.6977
2019-10-12 15:17 | 56627.87 | 53135.17 | 35.6993 | 34.5379 | 17.6592 | 1.0228 | 0.0042341 | 0.042341 | 6.2146 | 97.1072 | 149.3593 | 28.4437 | 763.3901 | 22.7681 | 53.1418 | 0.13472 | 90 | 1017.231 | 30.02 | 26.5502 | -82.6977
2019-10-12 15:17 | 56627.43 | 53135.29 | 35.6994 | 34.5379 | 17.6593 | 1.0228 | 0.0043382 | 0.043382 | 6.2141 | 97.0965 | 149.347 | 28.4434 | 763.405 | 22.826 | 53.2748 | 0.13519 | 90 | 1017.236 | 30.02 | 26.5502 | -82.6977
2019-10-12 15:18 | 56624.05 | 53134.29 | 35.6986 | 34.5373 | 17.6603 | 1.0228 | 0.0058346 | 0.058346 | 6.2187 | 97.1661 | 149.4545 | 28.4388 | 763.4321 | 23.4213 | 54.6458 | 0.135 | 90 | 1017.239 | 30.0106 | 26.5502 | -82.6977
2019-10-12 15:18 | 56607.02 | 53119.71 | 35.6875 | 34.5278 | 17.6657 | 1.0228 | 0.004804 | 0.04804 | 6.2168 | 97.1279 | 149.3995 | 28.4372 | 763.4895 | 23.9172 | 57.5244 | 0.135 | 90 | 1017.24 | 30.001 | 26.5502 | -82.6977
2019-10-12 15:18 | 56620.34 | 53133.15 | 35.6977 | 34.5365 | 17.6615 | 1.0228 | 0.0033735 | 0.033735 | 6.2126 | 97.0098 | 149.2354 | 28.4362 | 763.521 | 25.2785 | 59.09 | 0.135 | 90 | 1017.267 | 30.0002 | 26.5502 | -82.6977
2019-10-12 15:18 | 56620.2 | 53135.05 | 35.6991 | 34.5331 | 17.6644 | 1.0228 | 0.0042487 | 0.042487 | 6.2122 | 97.0216 | 149.2742 | 28.434 | 763.6157 | 25.6449 | 59.8322 | 0.135 | 90 | 1017.269 | 30.0087 | 26.5502 | -82.6977
2019-10-12 15:18 | 56618.73 | 53137.75 | 35.701 | 34.5389 | 17.6624 | 1.0228 | 0.0034123 | 0.034123 | 6.2084 | 96.9641 | 149.1891 | 28.4323 | 763.601 | 26.0649 | 60.7473 | 0.12731 | 90 | 1017.261 | 30.0011 | 26.5502 | -82.6978
2019-10-12 15:18 | 56618.42 | 53138.11 | 35.7013 | 34.5396 | 17.6622 | 1.0228 | 0.0033425 | 0.033425 | 6.2079 | 96.9574 | 149.1801 | 28.4319 | 763.6025 | 26.1286 | 60.8941 | 0.12622 | 90 | 1017.26 | 30.0004 | 26.5502 | -82.6978
2019-10-12 15:18 | 56642.97 | 53161.36 | 35.7189 | 34.5549 | 17.6544 | 1.0228 | 0.0029078 | 0.029078 | 6.2029 | 96.8915 | 149.0727 | 28.429 | 763.7289 | 27.0991 | 63.1259 | 0.12592 | 90 | 1017.279 | 29.9904 | 26.5502 | -82.6978
2019-10-12 15:18 | 56634.5 | 53154.3 | 35.7135 | 34.5503 | 17.6571 | 1.0228 | 0.0043869 | 0.043869 | 6.1999 | 96.8249 | 148.9957 | 28.4279 | 763.6794 | 27.2182 | 63.408 | 0.126 | 90 | 1017.242 | 29.9993 | 26.5502 | -82.6978
2019-10-12 15:18 | 56623.79 | 53147.01 | 35.7079 | 34.5456 | 17.6604 | 1.0228 | 0.0047056 | 0.047056 | 6.1974 | 96.7837 | 148.9237 | 28.425 | 763.7034 | 28.699 | 66.8257 | 0.126 | 90 | 1017.258 | 29.9908 | 26.5502 | -82.6978
2019-10-12 15:18 | 56615.36 | 53138.15 | 35.7013 | 34.5398 | 17.663 | 1.0228 | 0.0056444 | 0.056444 | 6.1962 | 96.7526 | 148.9044 | 28.426 | 763.8187 | 28.7199 | 66.8743 | 0.13404 | 90 | 1017.277 | 29.9902 | 26.5502 | -82.6978
2019-10-12 15:18 | 56640.69 | 53164.41 | 35.7211 | 34.541 | 17.6632 | 1.0228 | 0.0023179 | 0.023179 | 6.1944 | 96.7213 | 148.8466 | 28.4234 | 763.7706 | 29.4425 | 68.5385 | 0.13477 | 90 | 1017.253 | 29.9813 | 26.5502 | -82.6978
2019-10-12 15:18 | 56611.21 | 53136.99 | 35.7003 | 34.537 | 17.6654 | 1.0228 | 0.0047805 | 0.047805 | 6.1978 | 96.7686 | 148.9217 | 28.4235 | 763.8702 | 30.0873 | 70.028 | 0.12731 | 90 | 1017.217 | 29.9974 | 26.5502 | -82.6978
2019-10-12 15:18 | 56608.25 | 53134.37 | 35.6983 | 34.5365 | 17.6657 | 1.0228 | 0.0049725 | 0.049725 | 6.1982 | 96.7742 | 148.9299 | 28.4234 | 763.8812 | 30.2095 | 70.3099 | 0.12623 | 90 | 1017.21 | 29.9993 | 26.5502 | -82.6978
2019-10-12 15:18 | 56635.68 | 53160.63 | 35.7182 | 34.5546 | 17.6566 | 1.0228 | 0.0038688 | 0.038688 | 6.1944 | 96.7113 | 148.8542 | 28.4225 | 763.8361 | 30.231 | 70.3599 | 0.13458 | 90 | 1017.228 | 29.9906 | 26.5502 | -82.6978
2019-10-12 15:18 | 56622.6 | 53149.17 | 35.7095 | 34.547 | 17.6608 | 1.0228 | 0.0061178 | 0.061178 | 6.1931 | 96.6916 | 148.815 | 28.4216 | 763.8257 | 30.7852 | 71.6372 | 0.13503 | 90 | 1017.258 | 29.9807 | 26.5502 | -82.6978
2019-10-12 15:18 | 56634.11 | 53159.76 | 35.7176 | 34.5538 | 17.6572 | 1.0228 | 0.0030495 | 0.030495 | 6.2064 | 96.9048 | 149.1411 | 28.4218 | 763.9475 | 31.9817 | 74.3974 | 0.12686 | 90 | 1017.286 | 29.9982 | 26.5502 | -82.6978
2019-10-12 15:18 | 56631.11 | 53157.15 | 35.7156 | 34.5521 | 17.6581 | 1.0228 | 0.0047539 | 0.047539 | 6.1984 | 96.7651 | 148.9423 | 28.4216 | 763.9175 | 32.7311 | 76.1282 | 0.12619 | 90 | 1017.262 | 29.9996 | 26.5502 | -82.6978
2019-10-12 15:18 | 56631.29 | 53157.32 | 35.7157 | 34.5523 | 17.6581 | 1.0228 | 0.0048386 | 0.048386 | 6.1979 | 96.7557 | 148.9299 | 28.4216 | 763.9188 | 32.8825 | 76.4775 | 0.12574 | 90 | 1017.26 | 30.0006 | 26.5502 | -82.6978
2019-10-12 15:18 | 56622.02 | 53140.8 | 35.7032 | 34.5415 | 17.6639 | 1.0228 | 0.0029218 | 0.029218 | 6.1947 | 96.6903 | 148.8447 | 28.4214 | 763.9438 | 32.7253 | 76.1096 | 0.126 | 90 | 1017.249 | 29.9804 | 26.5502 | -82.6978
2019-10-12 15:18 | 56639.49 | 53164.54 | 35.7212 | 34.557 | 17.6559 | 1.0228 | 0.0032097 | 0.032097 | 6.1941 | 96.6977 | 148.8477 | 28.4211 | 764.0246 | 33.8023 | 78.5931 | 0.13392 | 90 | 1017.223 | 29.9889 | 26.5501 | -82.6978
2019-10-12 15:18 | 56636.09 | 53162.69 | 35.7198 | 34.5558 | 17.6567 | 1.0228 | 0.0029415 | 0.029415 | 6.195 | 96.7 | 148.8781 | 28.4204 | 764.14 | 34.5082 | 80.2213 | 0.12666 | 90 | 1017.283 | 29.9986 | 26.5501 | -82.6978
2019-10-12 15:18 | 56626.86 | 53154.5 | 35.7135 | 34.5511 | 17.6593 | 1.0228 | 0.0044738 | 0.044738 | 6.1935 | 96.6608 | 148.8264 | 28.4202 | 764.1326 | 35.6782 | 82.9243 | 0.13409 | 90 | 1017.244 | 29.991 | 26.5501 | -82.6978
2019-10-12 15:18 | 56605.65 | 53134.57 | 35.6984 | 34.5376 | 17.666 | 1.0228 | 0.0067987 | 0.067987 | 6.1962 | 96.692 | 148.8784 | 28.4197 | 764.2039 | 36.2012 | 84.0745 | 0.12702 | 90 | 1017.284 | 29.9904 | 26.5501 | -82.6978
2019-10-12 15:18 | 56602.36 | 53131.48 | 35.6961 | 34.5355 | 17.6671 | 1.0228 | 0.007185 | 0.07185 | 6.1965 | 96.6946 | 148.8831 | 28.4197 | 764.2125 | 36.3164 | 84.3327 | 0.12641 | 90 | 1017.287 | 29.9899 | 26.5501 | -82.6978
2019-10-12 15:18 | 56644.04 | 53169.5 | 35.7249 | 34.5602 | 17.6541 | 1.0228 | 0.0054993 | 0.054993 | 6.1904 | 96.6084 | 148.7631 | 28.4213 | 764.1732 | 36.5477 | 84.8722 | 0.12595 | 90 | 1017.261 | 29.99 | 26.5501 | -82.6978
2019-10-12 15:18 | 56620.28 | 53147.05 | 35.7079 | 34.5456 | 17.6615 | 1.0228 | 0.0038328 | 0.038328 | 6.2003 | 96.758 | 148.9856 | 28.4215 | 764.2747 | 36.2697 | 84.2731 | 0.126 | 90 | 1017.232 | 29.99 | 26.5501 | -82.6978
2019-10-12 15:18 | 56641.5 | 53167.08 | 35.7231 | 34.5586 | 17.6549 | 1.0228 | 0.0058404 | 0.058404 | 6.195 | 96.671 | 148.8152 | 28.4214 | 764.0311 | 33.5338 | 77.9677 | 0.13412 | 90 | 1017.212 | 29.99 | 26.5501 | -82.6978
2019-10-12 15:18 | 56634.94 | 53161.92 | 35.7192 | 34.5553 | 17.6639 | 1.0228 | 0.0053612 | 0.053612 | 6.2003 | 96.7849 | 148.9724 | 28.4204 | 763.9058 | 32.6273 | 75.8834 | 0.12685 | 90 | 1017.228 | 29.9812 | 26.5501 | -82.6978
2019-10-12 15:18 | 56613.01 | 53171.94 | 35.7268 | 34.5618 | 17.6545 | 1.0228 | 0.0056233 | 0.060956 | 6.2005 | 96.8053 | 148.9997 | 28.4191 | 763.8306 | 31.3451 | 72.9282 | 0.12627 | 90 | 1017.238 | 29.9889 | 26.5501 | -82.6978
2019-10-12 15:18 | 56609.54 | 53172.97 | 35.7275 | 34.5624 | 17.6536 | 1.0228 | 0.0056246 | 0.061625 | 6.2008 | 96.8137 | 149.0116 | 28.4188 | 763.8164 | 31.147 | 72.4718 | 0.12582 | 90 | 1017.24 | 29.9897 | 26.5501 | -82.6978
2019-10-12 15:18 | 56613.7 | 53146.15 | 35.7072 | 34.545 | 17.6628 | 1.0228 | 0.0058677 | 0.058972 | 6.1976 | 96.7566 | 148.9131 | 28.4179 | 763.6949 | 29.7792 | 69.3162 | 0.126 | 90 | 1017.269 | 29.9997 | 26.5501 | -82.6978
2019-10-12 15:19 | 56652.28 | 53178.4 | 35.7317 | 34.566 | 17.6516 | 1.0228 | 0.005356 | 0.053555 | 6.2011 | 96.8435 | 149.0215 | 28.4201 | 763.6063 | 28.6096 | 66.6186 | 0.1344 | 90 | 1017.251 | 30 | 26.5501 | -82.6978
2019-10-12 15:19 | 56623.11 | 53150.87 | 35.7108 | 34.5481 | 17.6606 | 1.0228 | 0.0068604 | 0.068604 | 6.1929 | 96.7174 | 148.8094 | 28.4203 | 763.5133 | 26.4738 | 61.68 | 0.12677 | 90 | 1017.241 | 30 | 26.5501 | -82.6978
2019-10-12 15:19 | 56614.56 | 53141.04 | 35.7034 | 34.5417 | 17.654 | 1.0228 | 0.004239 | 0.04239 | 6.2017 | 96.8911 | 149.0343 | 28.4222 | 763.3926 | 25.5765 | 59.6162 | 0.12621 | 90 | 1017.275 | 30 | 26.55 | -82.6979
2019-10-12 15:19 | 56642.14 | 53168.31 | 35.7241 | 34.5594 | 17.6526 | 1.0228 | 0.0046106 | 0.046106 | 6.1992 | 96.8729 | 148.9804 | 28.4218 | 763.2765 | 24.7044 | 57.6054 | 0.13372 | 90 | 1017.244 | 30 | 26.55 | -82.6979
2019-10-12 15:19 | 56644.83 | 53166.97 | 35.7231 | 34.5585 | 17.6533 | 1.0228 | 0.0045957 | 0.045957 | 6.1913 | 96.7531 | 148.7917 | 28.4238 | 763.2729 | 23.3461 | 54.4609 | 0.12706 | 90 | 1017.25 | 30.0168 | 26.55 | -82.6979
2019-10-12 15:19 | 56646.44 | 53168.01 | 35.7239 | 34.5592 | 17.6534 | 1.0228 | 0.0046325 | 0.046325 | 6.19 | 96.7339 | 148.7609 | 28.424 | 763.2687 | 23.1268 | 53.9534 | 0.12644 | 90 | 1017.249 | 30.0192 | 26.55 | -82.6979
2019-10-12 15:19 | 56653.21 | 53171.66 | 35.7267 | 34.5616 | 17.6513 | 1.0228 | 0.0034018 | 0.034018 | 6.2026 | 96.9348 | 149.0721 | 28.4281 | 763.1008 | 22.3234 | 52.1063 | 0.12598 | 90 | 1017.231 | 30.0201 | 26.55 | -82.6979
2019-10-12 15:19 | 56664.02 | 53179.59 | 35.7328 | 34.5667 | 17.6479 | 1.0228 | 0.0032586 | 0.032586 | 6.198 | 96.9064 | 148.975 | 28.4305 | 762.9926 | 20.7229 | 48.4195 | 0.13398 | 90 | 1017.256 | 30.0289 | 26.55 | -82.6979
2019-10-12 15:19 | 56672.56 | 53143.82 | 35.7056 | 34.5435 | 17.6595 | 1.0228 | 0.003558 | 0.03558 | 6.1921 | 96.8062 | 148.8085 | 28.4313 | 762.9692 | 19.8681 | 46.4435 | 0.13467 | 90 | 1017.225 | 30.0296 | 26.55 | -82.6979
2019-10-12 15:19 | 56674.04 | 53139.72 | 35.7026 | 34.5408 | 17.6608 | 1.0228 | 0.0035933 | 0.035933 | 6.1911 | 96.7919 | 148.7828 | 28.4315 | 762.9625 | 19.6986 | 46.0523 | 0.13509 | 90 | 1017.222 | 30.0301 | 26.55 | -82.6979
2019-10-12 15:19 | 56672.71 | 53182.77 | 35.7352 | 34.5688 | 17.6459 | 1.0228 | 0.0035019 | 0.035019 | 6.2065 | 97.048 | 149.1817 | 28.4334 | 762.8196 | 18.4089 | 43.0716 | 0.12641 | 90 | 1017.22 | 30.03 | 26.55 | -82.6979
2019-10-12 15:19 | 56667.02 | 53178.57 | 35.732 | 34.5661 | 17.647 | 1.0228 | 0.003529 | 0.03529 | 6.198 | 96.933 | 148.9771 | 28.4343 | 762.7928 | 17.8614 | 41.8138 | 0.12603 | 90 | 1017.256 | 30.03 | 26.55 | -82.6979
2019-10-12 15:19 | 56662.3 | 53172.8 | 35.7277 | 34.5623 | 17.6484 | 1.0228 | 0.0028318 | 0.028318 | 6.2106 | 97.1343 | 149.0672 | 28.4359 | 762.7087 | 16.2489 | 38.0874 | 0.126 | 90 | 1017.223 | 30.0664 | 26.55 | -82.6979
2019-10-12 15:19 | 56691.57 | 53194.84 | 35.7445 | 34.5767 | 17.6392 | 1.0228 | 0.0027017 | 0.027017 | 6.2057 | 97.0945 | 149.1715 | 28.4416 | 762.689 | 15.1587 | 35.5808 | 0.126 | 90 | 1017.22 | 30.0604 | 26.55 | -82.6979
2019-10-12 15:19 | 56694.84 | 53182.43 | 35.7352 | 34.5686 | 17.6416 | 1.0228 | 0.0028681 | 0.028681 | 6.211 | 97.1883 | 149.3134 | 28.4463 | 762.6024 | 14.5992 | 34.2891 | 0.126 | 90 | 1017.305 | 30.0689 | 26.55 | -82.6979
2019-10-12 15:19 | 56696.55 | 53181.7 | 35.7347 | 34.5681 | 17.6415 | 1.0228 | 0.0028897 | 0.028897 | 6.2115 | 97.1982 | 149.3366 | 28.4472 | 762.5903 | 14.4872 | 34.0311 | 0.126 | 90 | 1017.317 | 30.0696 | 26.55 | -82.6979
2019-10-12 15:19 | 56684.23 | 53178.25 | 35.7321 | 34.5659 | 17.6418 | 1.0228 | 0.003638 | 0.03638 | 6.2092 | 97.1664 | 149.2816 | 28.451 | 762.5942 | 13.9257 | 32.7369 | 0.11742 | 90 | 1017.244 | 30.0891 | 26.55 | -82.698
2019-10-12 15:19 | 56699.68 | 53191.49 | 35.7422 | 34.5745 | 17.6368 | 1.0228 | 0.0032556 | 0.032556 | 6.2153 | 97.2689 | 149.4399 | 28.4531 | 762.533 | 13.2084 | 31.0838 | 0.12533 | 90 | 1017.258 | 30.0992 | 26.55 | -82.698
2019-10-12 15:19 | 56691.4 | 53182.3 | 35.7352 | 34.5685 | 17.6394 | 1.0228 | 0.0035288 | 0.035288 | 6.2069 | 97.1442 | 149.4514 | 28.4546 | 762.4951 | 11.5108 | 27.164 | 0.12587 | 90 | 1017.313 | 30.0998 | 26.5499 | -82.698
2019-10-12 15:19 | 56710.41 | 53192.29 | 35.743 | 34.575 | 17.6369 | 1.0228 | 0.0026322 | 0.026322 | 6.2165 | 97.3326 | 149.5185 | 28.4628 | 762.4058 | 10.9079 | 25.7641 | 0.126 | 90 | 1017.257 | 30.1088 | 26.5499 | -82.698
2019-10-12 15:19 | 56692.69 | 53168.29 | 35.7249 | 34.5594 | 17.6394 | 1.0228 | 0.0037186 | 0.037186 | 6.2207 | 97.4001 | 149.6006 | 28.47 | 762.3385 | 9.8496 | 23.328 | 0.126 | 90 | 1017.269 | 30.1011 | 26.5499 | -82.698
2019-10-12 15:19 | 56691.14 | 53165.5 | 35.7228 | 34.5576 | 17.6396 | 1.0228 | 0.0038269 | 0.038269 | 6.2217 | 97.4183 | 149.6146 | 28.4713 | 762.3258 | 9.6918 | 22.9643 | 0.126 | 90 | 1017.268 | 30.1004 | 26.5499 | -82.698
2019-10-12 15:19 | 56723.33 | 53195.15 | 35.7453 | 34.5769 | 17.6294 | 1.0228 | 0.0023085 | 0.023085 | 6.2144 | 97.3234 | 149.4624 | 28.4725 | 762.2383 | 8.8845 | 21.1004 | 0.126 | 90 | 1017.318 | 30.1095 | 26.5499 | -82.698
2019-10-12 15:19 | 56725.56 | 53193.86 | 35.7444 | 34.576 | 17.6287 | 1.0228 | 0.0035699 | 0.035699 | 6.2208 | 97.4408 | 149.6241 | 28.4761 | 762.1588 | 8.4354 | 20.0716 | 0.11767 | 90 | 1017.329 | 30.1378 | 26.5499 | -82.698
2019-10-12 15:19 | 56718.56 | 53181.86 | 35.7354 | 34.5682 | 17.6309 | 1.0228 | 0.0036541 | 0.036541 | 6.2204 | 97.448 | 149.6168 | 28.4818 | 762.0859 | 6.4596 | 15.5058 | 0.12526 | 90 | 1017.348 | 30.1486 | 26.5499 | -82.698
2019-10-12 15:19 | 56706.98 | 53166.8 | 35.7241 | 34.5584 | 17.6345 | 1.0228 | 0.0031786 | 0.031786 | 6.2235 | 97.4814 | 149.6396 | 28.4862 | 762.0386 | 5.4278 | 13.1073 | 0.12583 | 90 | 1017.286 | 30.1498 | 26.5499 | -82.698
2019-10-12 15:19 | 56705.09 | 53164.23 | 35.7221 | 34.5567 | 17.6351 | 1.0228 | 0.0031105 | 0.031105 | 6.2239 | 97.4857 | 149.6415 | 28.487 | 762.0294 | 5.2016 | 12.5827 | 0.12628 | 90 | 1017.279 | 30.1503 | 26.5499 | -82.698
2019-10-12 15:19 | 56717.28 | 53180.77 | 35.735 | 34.5675 | 17.6242 | 1.0228 | 0.0017917 | 0.017917 | 6.2207 | 97.5124 | 149.67 | 28.498 | 761.8749 | 4.3341 | 10.6029 | 0.126 | 90 | 1017.238 | 30.1599 | 26.5499 | -82.698
2019-10-12 15:19 | 56727.98 | 53167.26 | 35.7248 | 34.5587 | 17.6271 | 1.0228 | 0.0015341 | 0.015341 | 6.219 | 97.5011 | 149.633 | 28.5084 | 761.8159 | 3.3259 | 8.286 | 0.126 | 90 | 1017.275 | 30.1776 | 26.5499 | -82.698
2019-10-12 15:20 | 56737.85 | 53161.13 | 35.7204 | 34.5547 | 17.6247 | 1.0228 | 0.002044 | 0.02044 | 6.2221 | 97.5784 | 149.6615 | 28.5231 | 761.7489 | 0.84212 | 2.5489 | 0.126 | 90 | 1017.287 | 30.1884 | 26.5499 | -82.698
2019-10-12 15:20 | 56739.41 | 53160.98 | 35.7204 | 34.5546 | 17.6227 | 1.0228 | 0.0013648 | 0.013648 | 6.2215 | 97.595 | 149.7242 | 28.5242 | 761.6964 | 0.85481 | 2.5932 | 0.126 | 90 | 1017.272 | 30.1984 | 26.5499 | -82.6981