## VuSitu_2019-10-12_15-52-56_Devi
Location Properties
Location Name = Device Location
Report Properties
Start Time = 2019-10-12 15:52:56
Time Offset = -04:00:00
Duration = 00:03:02
Readings = 92
Instrument Properties
Device Model = Aqua TROLL 600 Vented
Device SN = 676154
Instrument Properties
Device Model = In-Situ Bluetooth Device
Device SN = 674191
Date Time | Actual Conductivity (µS/cm) (673205) | Specific Conductivity (µS/cm) (673205) | Salinity (ppt) (673205) | Total Dissolved Solids (ppt) (673205) | Resistivity (Ω⋅cm) (673205) | Density (g/cm³) (673205) | Chlorophyll-a Fluorescence (RFU) (670514) | Chlorophyll-a Concentration (µg/L) (670514) | RDO Concentration (mg/L) (672710) | RDO Saturation (%Sat) (672710) | Oxygen Partial Pressure (Torr) (672710) | Temperature (°C) (676154) | Barometric Pressure (mm Hg) (676154) | Pressure (psi) (669389) | Depth (ft) (669389) | External Voltage (V) (676154) | Battery Capacity (%) (676154) | Barometric Pressure (mbar) (674191) | Temperature (°C) (674191) | Latitude (°) | Longitude (°) | Marked
2019-10-12 15:53 | 0.054945 | 0.049291 | 0 | 3.2039e-05 | 18200000 | 0.99534 | 0.011828 | 0.11828 | 7.3765 | 99.0265 | 151.0502 | 31.0038 | 761.8846 | -0.013955 | 0.52629 | 0.21732 | 90 | 1016.947 | 33.4818 | 26.6307 | -82.5565
2019-10-12 15:53 | 0.054945 | 0.049291 | 0 | 3.2039e-05 | 18200000 | 0.99534 | 0.01203 | 0.1203 | 7.374 | 98.9925 | 150.9979 | 31.0046 | 761.8766 | -0.014584 | 0.55825 | 0.21624 | 90 | 1016.949 | 33.4801 | 26.6307 | -82.5565
2019-10-12 15:53 | 0.054945 | 0.049481 | 0 | 3.2163e-05 | 18200000 | 0.99541 | 0.012008 | 0.12008 | 7.366 | 98.5164 | 150.3478 | 30.7813 | 761.9242 | 0.019347 | 0.65702 | 0.2244 | 90 | 1016.931 | 33.4799 | 26.6307 | -82.5565
2019-10-12 15:53 | 31619.73 | 29272.6 | 18.6844 | 9.1384 | 2579543 | 1.0021 | 0.0089752 | 0.089752 | 7.1661 | 97.7631 | 149.8173 | 29.4249 | 762.1907 | 0.2787 | 1.2659 | 0.22483 | 90 | 1016.904 | 33.4714 | 26.6307 | -82.5565
2019-10-12 15:53 | 18519.15 | 45054.13 | 29.8239 | 28.3539 | 696883.8 | 1.0175 | 0.006648 | 0.06648 | 6.4828 | 98.2344 | 150.7185 | 29.1141 | 762.2368 | 0.25192 | 1.2086 | 0.225 | 90 | 1016.962 | 33.4616 | 26.6307 | -82.5565
2019-10-12 15:53 | 49985.07 | 50409.86 | 33.6626 | 32.3808 | 19.6029 | 1.0208 | 0.0070749 | 0.070749 | 6.3384 | 98.3303 | 150.8964 | 28.7908 | 762.2498 | 0.78882 | 2.4461 | 0.225 | 90 | 1016.967 | 33.4519 | 26.6307 | -82.5565
2019-10-12 15:53 | 53309.91 | 51527.93 | 34.4828 | 33.7103 | 17.5069 | 1.0219 | 0.0070611 | 0.070611 | 6.2895 | 98.3742 | 150.9688 | 28.7482 | 762.2506 | 0.85788 | 2.6054 | 0.225 | 90 | 1016.971 | 33.4502 | 26.6307 | -82.5565
2019-10-12 15:53 | 56470.31 | 52617.07 | 35.3118 | 34.2011 | 17.7465 | 1.0224 | 0.0052846 | 0.052846 | 6.2897 | 98.6602 | 151.4147 | 28.7126 | 762.2147 | 1.3798 | 3.8096 | 0.225 | 90 | 1016.998 | 33.45 | 26.6307 | -82.5565
2019-10-12 15:53 | 56174.93 | 52520.32 | 35.2373 | 34.1382 | 17.8016 | 1.0224 | 0.0051136 | 0.051136 | 6.3099 | 98.8288 | 151.6912 | 28.6432 | 762.2758 | 1.4505 | 4.8056 | 0.23339 | 90 | 1016.962 | 33.4407 | 26.6307 | -82.5565
2019-10-12 15:53 | 47089.44 | 44054.13 | 28.9373 | 28.6352 | 21.2967 | 1.0177 | 0.003859 | 0.03859 | 6.5451 | 98.9694 | 151.9189 | 28.6066 | 762.1558 | 3.1152 | 7.8774 | 0.22567 | 90 | 1016.932 | 33.4309 | 26.6307 | -82.5566
2019-10-12 15:53 | 55294.75 | 51797.88 | 34.7038 | 33.6686 | 18.1668 | 1.022 | 0.0053692 | 0.053692 | 6.3499 | 99.0026 | 151.9727 | 28.5716 | 762.1614 | 3.7157 | 9.219 | 0.23285 | 90 | 1016.964 | 33.4218 | 26.6307 | -82.5566
2019-10-12 15:53 | 56088.32 | 52569.3 | 35.2775 | 34.17 | 17.8606 | 1.0224 | 0.0049425 | 0.049425 | 6.3322 | 98.9856 | 151.9677 | 28.5103 | 762.0964 | 3.8856 | 9.5906 | 0.23359 | 90 | 1016.951 | 33.412 | 26.6307 | -82.5566
2019-10-12 15:53 | 56538.39 | 52996.52 | 35.5955 | 34.4477 | 17.6883 | 1.0227 | 0.0049438 | 0.049438 | 6.3215 | 98.9836 | 151.9675 | 28.5008 | 762.0884 | 3.9201 | 9.6705 | 0.23398 | 90 | 1016.951 | 33.4104 | 26.6307 | -82.5566
2019-10-12 15:53 | 56552.06 | 53022.17 | 35.6145 | 34.4644 | 17.6828 | 1.0227 | 0.0036575 | 0.036575 | 6.3274 | 99.0732 | 152.0957 | 28.4854 | 762.021 | 4.5668 | 11.1597 | 0.234 | 90 | 1016.978 | 33.41 | 26.6307 | -82.5566
2019-10-12 15:53 | 56556.59 | 53030.34 | 35.6206 | 34.4697 | 17.6814 | 1.0227 | 0.0063873 | 0.063873 | 6.3225 | 99.0026 | 151.9884 | 28.4814 | 762.0662 | 5.831 | 14.0744 | 0.234 | 90 | 1016.979 | 33.4008 | 26.6307 | -82.5566
2019-10-12 15:53 | 56546.94 | 53048.66 | 35.6339 | 34.4954 | 17.6802 | 1.0227 | 0.0061729 | 0.061729 | 6.3177 | 98.8762 | 151.8072 | 28.4526 | 762.0826 | 6.5185 | 15.6624 | 0.234 | 90 | 1016.926 | 33.3913 | 26.6307 | -82.5566
2019-10-12 15:53 | 56545.9 | 53051.36 | 35.6359 | 34.4989 | 17.68 | 1.0227 | 0.0062724 | 0.062724 | 6.3169 | 98.8564 | 151.7785 | 28.4487 | 762.087 | 6.6628 | 15.9956 | 0.234 | 90 | 1016.919 | 33.3897 | 26.6306 | -82.5566
2019-10-12 15:54 | 56524.95 | 53044.76 | 35.6307 | 34.4799 | 17.6911 | 1.0227 | 0.0060439 | 0.060439 | 6.3157 | 98.8289 | 151.7211 | 28.435 | 762.0275 | 7.5982 | 18.1531 | 0.234 | 90 | 1016.957 | 33.3802 | 26.6306 | -82.5566
2019-10-12 15:54 | 56536.25 | 53096.32 | 35.6689 | 34.5127 | 17.6878 | 1.0228 | 0.0055095 | 0.055095 | 6.3192 | 98.8333 | 151.7466 | 28.392 | 762.0593 | 7.6062 | 18.946 | 0.21779 | 90 | 1016.914 | 33.371 | 26.6306 | -82.5566
2019-10-12 15:54 | 56505.67 | 53086.75 | 35.6613 | 34.5064 | 17.6973 | 1.0228 | 0.0030983 | 0.030983 | 6.3216 | 98.745 | 151.6186 | 28.3719 | 761.9999 | 8.9036 | 21.2148 | 0.23292 | 90 | 1016.966 | 33.3794 | 26.6306 | -82.5566
2019-10-12 15:54 | 56497.36 | 53096.8 | 35.6921 | 34.5333 | 17.6935 | 1.0228 | 0.0041212 | 0.035736 | 6.3122 | 98.6474 | 151.4753 | 28.3531 | 762.0814 | 9.5048 | 22.5678 | 0.23363 | 90 | 1016.899 | 33.3537 | 26.6306 | -82.5567
2019-10-12 15:54 | 56436.55 | 53073.54 | 35.6532 | 34.5003 | 17.7182 | 1.0228 | 0.0046867 | 0.046199 | 6.3197 | 98.7007 | 151.5811 | 28.3385 | 762.0892 | 9.5525 | 22.659 | 0.234 | 90 | 1016.927 | 33.3511 | 26.6306 | -82.5567
2019-10-12 15:54 | 56428.12 | 53070.8 | 35.6491 | 34.4969 | 17.7214 | 1.0228 | 0.0048177 | 0.047948 | 6.3204 | 98.7046 | 151.5906 | 28.336 | 762.0938 | 9.5753 | 22.7114 | 0.234 | 90 | 1016.928 | 33.3497 | 26.6306 | -82.5567
2019-10-12 15:54 | 56418.55 | 53071.13 | 35.6479 | 34.496 | 17.7247 | 1.0228 | 0.0071619 | 0.071675 | 6.322 | 98.7124 | 151.6065 | 28.3035 | 762.0207 | 10.1231 | 23.9767 | 0.234 | 90 | 1016.92 | 33.3596 | 26.6306 | -82.5567
2019-10-12 15:54 | 56442.19 | 53100.2 | 35.6701 | 34.5151 | 17.7172 | 1.0228 | 0.0051346 | 0.051346 | 6.3157 | 98.6245 | 151.4597 | 28.2952 | 762.0727 | 10.937 | 25.856 | 0.234 | 90 | 1016.92 | 33.3508 | 26.6306 | -82.5567
2019-10-12 15:54 | 56419.37 | 53095.93 | 35.6665 | 34.5124 | 17.7244 | 1.0228 | 0.0052201 | 0.052201 | 6.3037 | 98.3855 | 151.1212 | 28.2771 | 762.1176 | 11.3181 | 26.7322 | 0.234 | 90 | 1016.901 | 33.3411 | 26.6306 | -82.5567
2019-10-12 15:54 | 56431.11 | 53118.92 | 35.6773 | 34.5219 | 17.7257 | 1.0228 | 0.0053111 | 0.053111 | 6.3106 | 98.4801 | 151.2628 | 28.2646 | 762.0817 | 12.2527 | 28.8867 | 0.234 | 90 | 1016.891 | 33.3313 | 26.6306 | -82.5567
2019-10-12 15:54 | 56375.36 | 53091.73 | 35.6619 | 34.509 | 17.7388 | 1.0228 | 0.0063976 | 0.063976 | 6.3111 | 98.4368 | 151.2202 | 28.2566 | 762.1964 | 12.1957 | 28.7571 | 0.234 | 90 | 1016.968 | 33.3303 | 26.6306 | -82.5567
2019-10-12 15:54 | 56356.73 | 53089.61 | 35.6604 | 34.508 | 17.7443 | 1.0228 | 0.0039114 | 0.039114 | 6.3115 | 98.4122 | 151.1958 | 28.2246 | 762.1887 | 12.2801 | 28.9495 | 0.234 | 90 | 1016.951 | 33.33 | 26.6306 | -82.5567
2019-10-12 15:54 | 56351.61 | 53087.93 | 35.6594 | 34.5072 | 17.7457 | 1.0228 | 0.0036175 | 0.036175 | 6.3116 | 98.4062 | 151.1895 | 28.22 | 762.1931 | 12.2815 | 28.9525 | 0.234 | 90 | 1016.952 | 33.33 | 26.6306 | -82.5567
2019-10-12 15:54 | 56347.14 | 53087.15 | 35.6587 | 34.5067 | 17.7471 | 1.0228 | 0.0044754 | 0.044754 | 6.3067 | 98.3279 | 151.0662 | 28.2151 | 762.2115 | 13.9381 | 32.7786 | 0.234 | 90 | 1016.921 | 33.3206 | 26.6306 | -82.5567
2019-10-12 15:54 | 56376.58 | 53124.55 | 35.6868 | 34.531 | 17.7379 | 1.0228 | 0.0049395 | 0.049395 | 6.2954 | 98.106 | 150.7623 | 28.205 | 762.3403 | 13.7446 | 32.3254 | 0.25013 | 90 | 1016.92 | 33.3201 | 26.6306 | -82.5567
2019-10-12 15:54 | 56349.25 | 53109.19 | 35.6935 | 34.5369 | 17.7376 | 1.0229 | 0.004362 | 0.051111 | 6.2895 | 98.0332 | 150.6394 | 28.1941 | 762.2261 | 14.2468 | 33.4808 | 0.23568 | 90 | 1016.911 | 33.32 | 26.6305 | -82.5567
2019-10-12 15:54 | 56363.77 | 53121.91 | 35.6868 | 34.5311 | 17.7408 | 1.0229 | 0.0067929 | 0.068822 | 6.2994 | 98.1923 | 150.8714 | 28.1951 | 762.3533 | 14.9527 | 35.1101 | 0.23457 | 90 | 1016.919 | 33.3114 | 26.6305 | -82.5567
2019-10-12 15:54 | 56355.62 | 53117.27 | 35.6819 | 34.5269 | 17.7441 | 1.0228 | 0.0060603 | 0.060932 | 6.293 | 98.069 | 150.7085 | 28.1919 | 762.3642 | 15.1776 | 35.6318 | 0.234 | 90 | 1016.953 | 33.3104 | 26.6305 | -82.5567
2019-10-12 15:54 | 56355.33 | 53117.29 | 35.6808 | 34.526 | 17.7447 | 1.0228 | 0.006066 | 0.060558 | 6.2926 | 98.0591 | 150.6966 | 28.1916 | 762.3722 | 15.2352 | 35.7651 | 0.234 | 90 | 1016.958 | 33.3099 | 26.6305 | -82.5567
2019-10-12 15:54 | 56333.89 | 53105.23 | 35.6718 | 34.5184 | 17.7513 | 1.0228 | 0.003878 | 0.03878 | 6.2922 | 98.0325 | 150.6601 | 28.1831 | 762.3914 | 16.0907 | 37.7332 | 0.22556 | 90 | 1016.932 | 33.31 | 26.6305 | -82.5567
2019-10-12 15:54 | 56333.76 | 53106.57 | 35.6586 | 34.5071 | 17.7568 | 1.0228 | 0.0054383 | 0.05963 | 6.2869 | 97.9415 | 150.5252 | 28.1816 | 762.425 | 16.5591 | 38.8221 | 0.23298 | 90 | 1016.904 | 33.3013 | 26.6305 | -82.5567
2019-10-12 15:54 | 56320.58 | 53099.1 | 35.6652 | 34.5129 | 17.7562 | 1.0228 | 0.0057897 | 0.058568 | 6.2882 | 97.9499 | 150.5463 | 28.1838 | 762.467 | 16.8606 | 39.5193 | 0.23364 | 90 | 1016.901 | 33.3174 | 26.6305 | -82.5568
2019-10-12 15:54 | 56318.96 | 53098.23 | 35.6656 | 34.5132 | 17.7563 | 1.0228 | 0.0059014 | 0.059294 | 6.2882 | 97.9476 | 150.5441 | 28.1841 | 762.4735 | 16.9132 | 39.6412 | 0.23404 | 90 | 1016.9 | 33.3191 | 26.6305 | -82.5568
2019-10-12 15:54 | 56330.22 | 53114.02 | 35.6782 | 34.5241 | 17.7524 | 1.0229 | 0.0047948 | 0.047934 | 6.2813 | 97.8324 | 150.378 | 28.1707 | 762.5114 | 16.8265 | 39.4372 | 0.234 | 90 | 1016.88 | 33.3008 | 26.6305 | -82.5568
2019-10-12 15:54 | 56322.27 | 53111.09 | 35.6759 | 34.5222 | 17.755 | 1.0229 | 0.0052861 | 0.052861 | 6.2787 | 97.7779 | 150.3033 | 28.1655 | 762.5337 | 17.4766 | 41.987 | 0.22565 | 90 | 1016.926 | 33.3093 | 26.6305 | -82.5568
2019-10-12 15:54 | 56308.62 | 53092.44 | 35.6619 | 34.5101 | 17.7593 | 1.0228 | 0.007607 | 0.07607 | 6.2815 | 97.7694 | 150.2954 | 28.1716 | 762.535 | 18.6706 | 43.7695 | 0.23336 | 90 | 1016.902 | 33.3099 | 26.6305 | -82.5568
2019-10-12 15:54 | 56330.54 | 53119.44 | 35.6822 | 34.5229 | 17.7572 | 1.0229 | 0.0050084 | 0.050084 | 6.2683 | 97.5816 | 150.0315 | 28.165 | 762.6422 | 19.6279 | 45.9172 | 0.23386 | 90 | 1016.891 | 33.31 | 26.6305 | -82.5568
2019-10-12 15:54 | 56319.89 | 53122.84 | 35.6845 | 34.5293 | 17.7563 | 1.0229 | 0.0058301 | 0.058301 | 6.2666 | 97.5381 | 149.9862 | 28.1572 | 762.7297 | 20.2649 | 47.3687 | 0.21843 | 90 | 1016.916 | 33.31 | 26.6305 | -82.5568
2019-10-12 15:54 | 56299.69 | 53107.14 | 35.6725 | 34.5194 | 17.7623 | 1.0229 | 0.0051475 | 0.051475 | 6.2644 | 97.4943 | 149.9211 | 28.1482 | 762.7355 | 20.6595 | 48.2797 | 0.23199 | 90 | 1016.927 | 33.3185 | 26.6305 | -82.5568
2019-10-12 15:54 | 56296.21 | 53104.84 | 35.6708 | 34.5182 | 17.7631 | 1.0229 | 0.0051067 | 0.051067 | 6.2642 | 97.4878 | 149.9122 | 28.1467 | 762.7391 | 20.7337 | 48.451 | 0.23325 | 90 | 1016.93 | 33.3197 | 26.6305 | -82.5568
2019-10-12 15:54 | 56312.99 | 53116.38 | 35.6796 | 34.5256 | 17.7579 | 1.0229 | 0.0072822 | 0.072822 | 6.2604 | 97.4423 | 149.8389 | 28.1508 | 762.8227 | 21.9389 | 51.2336 | 0.22562 | 90 | 1016.949 | 33.3106 | 26.6305 | -82.5568
2019-10-12 15:55 | 56317.45 | 53125.58 | 35.6865 | 34.5316 | 17.7565 | 1.0229 | 0.0073132 | 0.073132 | 6.2573 | 97.378 | 149.7648 | 28.1456 | 762.8826 | 21.9983 | 51.3702 | 0.23334 | 90 | 1016.913 | 33.3193 | 26.6305 | -82.5568
2019-10-12 15:55 | 56325.47 | 53137.56 | 35.6955 | 34.5359 | 17.7551 | 1.0229 | 0.0064673 | 0.064673 | 6.2525 | 97.3013 | 149.6435 | 28.141 | 762.8336 | 22.5422 | 52.6243 | 0.23385 | 90 | 1016.955 | 33.3287 | 26.6305 | -82.5568
2019-10-12 15:55 | 56314.45 | 53124 | 35.6853 | 34.5302 | 17.7576 | 1.0229 | 0.0068919 | 0.068919 | 6.2542 | 97.3297 | 149.6825 | 28.1424 | 762.966 | 23.8483 | 55.638 | 0.234 | 90 | 1016.906 | 33.321 | 26.6304 | -82.5568
2019-10-12 15:55 | 56302.73 | 53114.39 | 35.6779 | 34.5242 | 17.7612 | 1.0229 | 0.0065187 | 0.065187 | 6.2587 | 97.3734 | 149.7802 | 28.1425 | 762.8912 | 23.3929 | 54.586 | 0.22648 | 90 | 1016.902 | 33.3288 | 26.6304 | -82.5568
2019-10-12 15:55 | 56300.6 | 53112.41 | 35.6764 | 34.5231 | 17.7618 | 1.0229 | 0.0064936 | 0.064936 | 6.2594 | 97.3811 | 149.7961 | 28.1426 | 762.8871 | 23.3823 | 54.5612 | 0.22546 | 90 | 1016.899 | 33.3294 | 26.6304 | -82.5568
2019-10-12 15:55 | 56307.83 | 53122.21 | 35.6838 | 34.5294 | 17.7595 | 1.0229 | 0.0074058 | 0.074058 | 6.2502 | 97.2476 | 149.5735 | 28.1397 | 762.8521 | 23.9469 | 55.865 | 0.2335 | 90 | 1016.947 | 33.3394 | 26.6304 | -82.5568
2019-10-12 15:55 | 56288.7 | 53105.52 | 35.6711 | 34.5186 | 17.7656 | 1.0229 | 0.0084699 | 0.084699 | 6.2502 | 97.2428 | 149.5449 | 28.1382 | 762.9189 | 25.8028 | 60.1452 | 0.23395 | 90 | 1016.895 | 33.3399 | 26.6304 | -82.5568
2019-10-12 15:55 | 56318.26 | 53133.64 | 35.6924 | 34.5259 | 17.7624 | 1.0229 | 0.0075668 | 0.075668 | 6.2505 | 97.2345 | 149.5703 | 28.138 | 763.0308 | 26.4128 | 61.5517 | 0.234 | 90 | 1016.882 | 33.34 | 26.6304 | -82.5568
2019-10-12 15:55 | 56321.25 | 53136.54 | 35.6946 | 34.5263 | 17.7623 | 1.0229 | 0.0074931 | 0.074931 | 6.2506 | 97.2337 | 149.5731 | 28.1379 | 763.0486 | 26.5742 | 61.9239 | 0.234 | 90 | 1016.878 | 33.34 | 26.6304 | -82.5569
2019-10-12 15:55 | 56303.59 | 53118.84 | 35.6812 | 34.5263 | 17.7614 | 1.0229 | 0.0072319 | 0.072319 | 6.2418 | 97.0935 | 149.369 | 28.139 | 763.2592 | 27.7081 | 64.5418 | 0.234 | 90 | 1016.898 | 33.3588 | 26.6304 | -82.5569
2019-10-12 15:55 | 56314.61 | 53131.02 | 35.6904 | 34.535 | 17.7575 | 1.0229 | 0.011268 | 0.11268 | 6.2383 | 97.016 | 149.2907 | 28.1372 | 763.1806 | 29.3432 | 68.3094 | 0.234 | 90 | 1016.873 | 33.3597 | 26.6304 | -82.5569
2019-10-12 15:55 | 56298.93 | 53112.77 | 35.6767 | 34.5233 | 17.7673 | 1.0228 | 0.0069897 | 0.069897 | 6.2407 | 97.0532 | 149.3374 | 28.1408 | 763.2026 | 29.9993 | 69.7842 | 0.234 | 90 | 1016.898 | 33.369 | 26.6304 | -82.5569
2019-10-12 15:55 | 56282.87 | 53111.79 | 35.676 | 34.5227 | 17.7615 | 1.0229 | 0.0078404 | 0.078404 | 6.2458 | 97.1488 | 149.476 | 28.1439 | 763.0774 | 29.0431 | 67.6055 | 0.22612 | 90 | 1016.908 | 33.3698 | 26.6304 | -82.5569
2019-10-12 15:55 | 56275.18 | 53090.04 | 35.6595 | 34.5085 | 17.7691 | 1.0228 | 0.0076149 | 0.076149 | 6.2527 | 97.2552 | 149.6226 | 28.1436 | 763.0152 | 27.9625 | 65.1244 | 0.2329 | 90 | 1016.918 | 33.37 | 26.6304 | -82.5569
2019-10-12 15:55 | 56273.55 | 53087.21 | 35.6574 | 34.5067 | 17.7698 | 1.0228 | 0.0076487 | 0.076487 | 6.2538 | 97.2733 | 149.6479 | 28.1437 | 763.0014 | 27.7712 | 64.6861 | 0.23346 | 90 | 1016.919 | 33.37 | 26.6304 | -82.5569
2019-10-12 15:55 | 56302.59 | 53115.82 | 35.679 | 34.5253 | 17.7612 | 1.0229 | 0.0072752 | 0.072752 | 6.2548 | 97.304 | 149.6835 | 28.1412 | 762.8936 | 26.9634 | 62.8217 | 0.22547 | 90 | 1016.901 | 33.3795 | 26.6304 | -82.5569
2019-10-12 15:55 | 56321.68 | 53134.26 | 35.693 | 34.5373 | 17.7552 | 1.0229 | 0.0070363 | 0.070363 | 6.25 | 97.2496 | 149.5281 | 28.1407 | 762.8538 | 25.676 | 59.853 | 0.22503 | 90 | 1016.927 | 33.38 | 26.6304 | -82.5569
2019-10-12 15:55 | 56305.94 | 53120.49 | 35.6825 | 34.5283 | 17.7563 | 1.0229 | 0.0079704 | 0.079704 | 6.2524 | 97.2899 | 149.6289 | 28.1396 | 762.8577 | 24.6712 | 57.5309 | 0.225 | 90 | 1016.911 | 33.389 | 26.6304 | -82.5569
2019-10-12 15:55 | 56316.59 | 53120.1 | 35.6822 | 34.5281 | 17.7591 | 1.0229 | 0.0066582 | 0.066582 | 6.2501 | 97.2643 | 149.5754 | 28.1401 | 762.7448 | 23.4504 | 54.7133 | 0.225 | 90 | 1016.928 | 33.3986 | 26.6304 | -82.5569
2019-10-12 15:55 | 56281.32 | 53092.29 | 35.6612 | 34.51 | 17.7681 | 1.0228 | 0.0075076 | 0.075076 | 6.2477 | 97.2228 | 149.504 | 28.1419 | 762.6511 | 22.5978 | 52.7428 | 0.225 | 90 | 1016.929 | 33.4082 | 26.6304 | -82.5569
2019-10-12 15:55 | 56277.13 | 53088.6 | 35.6584 | 34.5076 | 17.7694 | 1.0228 | 0.0075564 | 0.075564 | 6.2472 | 97.2158 | 149.4912 | 28.1422 | 762.6332 | 22.4341 | 52.3647 | 0.225 | 90 | 1016.93 | 33.4099 | 26.6303 | -82.5569
2019-10-12 15:55 | 56286.2 | 53096.52 | 35.6645 | 34.5127 | 17.7663 | 1.0229 | 0.0056042 | 0.056042 | 6.2485 | 97.2527 | 149.5287 | 28.1452 | 762.5964 | 21.7708 | 50.8302 | 0.225 | 90 | 1016.911 | 33.4101 | 26.6303 | -82.5569
2019-10-12 15:55 | 56305.57 | 53112.46 | 35.6766 | 34.5231 | 17.7602 | 1.0229 | 0.0077398 | 0.077398 | 6.2437 | 97.194 | 149.4297 | 28.1476 | 762.6302 | 19.5542 | 45.7082 | 0.225 | 90 | 1016.947 | 33.4193 | 26.6303 | -82.5569
2019-10-12 15:55 | 56279.05 | 53086.45 | 35.6569 | 34.5062 | 17.763 | 1.0229 | 0.010158 | 0.10158 | 6.2452 | 97.2212 | 149.4626 | 28.1487 | 762.5591 | 18.7696 | 43.9026 | 0.225 | 90 | 1016.905 | 33.4287 | 26.6303 | -82.5569
2019-10-12 15:55 | 56294.05 | 53098.89 | 35.6664 | 34.5143 | 17.7618 | 1.0228 | 0.0065201 | 0.065201 | 6.2484 | 97.2955 | 149.5512 | 28.1488 | 762.4874 | 18.343 | 42.9323 | 0.225 | 90 | 1016.901 | 33.4471 | 26.6303 | -82.557
2019-10-12 15:55 | 56326.38 | 53121.24 | 35.6834 | 34.5288 | 17.7533 | 1.0229 | 0.0062074 | 0.062074 | 6.2456 | 97.2625 | 149.5053 | 28.1588 | 762.4205 | 17.4529 | 40.8739 | 0.225 | 90 | 1016.891 | 33.4408 | 26.6303 | -82.557
2019-10-12 15:55 | 56331.7 | 53125.07 | 35.6864 | 34.5313 | 17.752 | 1.0229 | 0.0059902 | 0.059902 | 6.2453 | 97.2608 | 149.5024 | 28.1601 | 762.4089 | 17.3191 | 40.5651 | 0.225 | 90 | 1016.89 | 33.4406 | 26.6303 | -82.557
2019-10-12 15:55 | 56325.5 | 53113.34 | 35.6776 | 34.5237 | 17.754 | 1.0229 | 0.0050222 | 0.050222 | 6.2444 | 97.2593 | 149.4858 | 28.1664 | 762.386 | 16.1765 | 37.9244 | 0.225 | 90 | 1016.899 | 33.4589 | 26.6303 | -82.557
2019-10-12 15:55 | 56306.86 | 53094.69 | 35.6635 | 34.5115 | 17.7598 | 1.0228 | 0.0055923 | 0.055923 | 6.2425 | 97.2518 | 149.4578 | 28.1675 | 762.3373 | 14.9408 | 35.0716 | 0.225 | 90 | 1016.9 | 33.4599 | 26.6303 | -82.557
2019-10-12 15:56 | 56338.77 | 53118.89 | 35.6819 | 34.5273 | 17.7498 | 1.0229 | 0.0063404 | 0.063404 | 6.2442 | 97.2896 | 149.5036 | 28.1713 | 762.1871 | 14.0785 | 33.0836 | 0.21733 | 90 | 1016.891 | 33.4685 | 26.6303 | -82.557
2019-10-12 15:56 | 56342.9 | 53118.91 | 35.682 | 34.5273 | 17.7485 | 1.0229 | 0.0046298 | 0.046298 | 6.254 | 97.4608 | 149.7445 | 28.1774 | 762.2438 | 13.4139 | 31.5383 | 0.21641 | 90 | 1016.873 | 33.4695 | 26.6303 | -82.557
2019-10-12 15:56 | 56344.68 | 53119.87 | 35.6828 | 34.5279 | 17.7479 | 1.0229 | 0.0044243 | 0.044243 | 6.2554 | 97.485 | 149.7784 | 28.1783 | 762.2464 | 13.3024 | 31.2794 | 0.21602 | 90 | 1016.871 | 33.47 | 26.6303 | -82.557
2019-10-12 15:56 | 56337.75 | 53110.2 | 35.6755 | 34.5216 | 17.7501 | 1.0228 | 0.0062253 | 0.062253 | 6.2565 | 97.4931 | 149.806 | 28.1817 | 762.1654 | 12.3665 | 29.1408 | 0.22448 | 90 | 1016.898 | 33.4888 | 26.6303 | -82.557
2019-10-12 15:56 | 56361.99 | 53125.01 | 35.6869 | 34.5313 | 17.7425 | 1.0229 | 0.0034878 | 0.034878 | 6.248 | 97.6498 | 150.0111 | 28.1901 | 762.0994 | 10.6632 | 25.2022 | 0.21673 | 90 | 1016.909 | 33.499 | 26.6303 | -82.557
2019-10-12 15:56 | 56387.82 | 53136.94 | 35.6962 | 34.5228 | 17.7384 | 1.0228 | 0.0060196 | 0.060196 | 6.2601 | 97.6587 | 150.0081 | 28.2031 | 762.0478 | 10.1534 | 24.0332 | 0.21619 | 90 | 1016.874 | 33.4998 | 26.6303 | -82.557
2019-10-12 15:56 | 56427.76 | 53153.72 | 35.7093 | 34.548 | 17.7222 | 1.0229 | 0.0052647 | 0.052647 | 6.2597 | 97.6766 | 150.0177 | 28.2177 | 761.9314 | 9.4274 | 22.366 | 0.216 | 90 | 1016.88 | 33.5087 | 26.6303 | -82.557
2019-10-12 15:56 | 56434.16 | 53145.61 | 35.7034 | 34.544 | 17.7199 | 1.0228 | 0.003432 | 0.03432 | 6.2693 | 97.8438 | 150.259 | 28.2387 | 761.943 | 8.51 | 20.2469 | 0.216 | 90 | 1016.964 | 33.5352 | 26.6303 | -82.557
2019-10-12 15:56 | 56436.51 | 53145.06 | 35.7031 | 34.5445 | 17.719 | 1.0228 | 0.0031182 | 0.031182 | 6.2705 | 97.8682 | 150.2935 | 28.2422 | 761.9402 | 8.3543 | 19.8876 | 0.216 | 90 | 1016.977 | 33.5393 | 26.6303 | -82.557
2019-10-12 15:56 | 56427.76 | 53125.13 | 35.6882 | 34.5313 | 17.7218 | 1.0228 | 0.0047115 | 0.047115 | 6.273 | 97.9152 | 150.3671 | 28.2549 | 761.8221 | 7.1234 | 17.0492 | 0.20747 | 90 | 1016.905 | 33.5307 | 26.6303 | -82.557
2019-10-12 15:56 | 56478.47 | 53147.9 | 35.706 | 34.5461 | 17.7059 | 1.0228 | 0.0045115 | 0.045115 | 6.2722 | 97.9691 | 150.5562 | 28.281 | 761.7598 | 5.9494 | 14.3447 | 0.21538 | 90 | 1016.946 | 33.5393 | 26.6303 | -82.557
2019-10-12 15:56 | 56505.14 | 53151.95 | 35.7094 | 34.5543 | 17.689 | 1.0228 | 0.0046344 | 0.046344 | 6.2829 | 98.2179 | 150.7809 | 28.303 | 761.7229 | 4.4581 | 10.9095 | 0.21587 | 90 | 1016.958 | 33.5487 | 26.6303 | -82.557
2019-10-12 15:56 | 56558.52 | 53182.25 | 35.7328 | 34.5691 | 17.6798 | 1.0228 | 0.0039088 | 0.039088 | 6.2757 | 98.1337 | 150.6227 | 28.3229 | 761.5557 | 3.0555 | 7.6679 | 0.216 | 90 | 1016.907 | 33.5584 | 26.6302 | -82.557
2019-10-12 15:56 | 56565.88 | 53182.11 | 35.7328 | 34.5686 | 17.6782 | 1.0228 | 0.0053541 | 0.053541 | 6.2728 | 98.1119 | 150.5622 | 28.3311 | 761.4601 | 2.056 | 5.3672 | 0.216 | 90 | 1016.902 | 33.5682 | 26.6302 | -82.557
2019-10-12 15:56 | 56568.93 | 53183.33 | 35.7338 | 34.5691 | 17.6777 | 1.0228 | 0.0055246 | 0.055246 | 6.272 | 98.1032 | 150.545 | 28.3329 | 761.44 | 1.8701 | 4.9387 | 0.216 | 90 | 1016.899 | 33.5699 | 26.6302 | -82.557